## 1.0.0
|  | SDD | [18 empty] | Verification | [22 empty] | Validation
[21 empty] | Verification Spec and Report | [22 empty] | Validation Specification and Report
Requirement / Type | ID | DES73-6894 STMN IOS SDD - Main application | DES73-6606 STMN IOS SDD - Installation | DES73-6607 STMN IOS SDD - Update | DES73-6896 STMN IOS SDD - User management and login | DES73-6897 STMN IOS SDD - Patient management | DES73-6985 STMN IOS SDD - Scan data management | DES73-6881 STMN IOS SDD - Scan Workflows | DES73-6973 STMN IOS SDD - Workflow Navigation and Scanning Controls | DES73-6877 STMN IOS SDD - Scanner Connection | DES73-6997 STMN IOS SDD - Scan options and mesh tools in scan view | DES73-6878 STMN IOS SDD - Scan arches | DES73-6984 STMN IOS SDD - Scan bite and align arches | DES73-6895 STMN IOS SDD - Scan Review | DES73-6900 STMN IOS SDD - AXS integration | DES73-6901 STMN IOS SDD - ClearCorrect integration | DES73-6902 STMN IOS SDD - Technical support and training | DES73-6904 STMN IOS SDD - Regulatory compliance | DES73-6882 STMN IOS SDD - Localization | DES73-6905 STMN IOS SDD - Licensing and business intelligence | DEX73-6911 STMN IOS Software Main Application Verification Specifications DEX73-6951 STMN IOS Software Main Application Verification Report | DEX73-6891 STMN IOS Installation & Update Verification Specifications DEX73-6952 STMN IOS Installation & Update Verirfication Report | DES73-6912 STMN IOS Software User management and login Verification Specifications DEX73-6971 STMN IOS Software User management and login Verification Report | DES73-6917 STMN IOS Patient Management Verification Specification DEX73-6972 STMN IOS Patient Management Verification Report | DEX73-6948 STMN IOS Case management Verification Report DEX73-6948 STMN IOS Case management Verification Report | DES73-7004 STMN IOS Scan data management Verification Specification DEX73-7005 STMN IOS Scan data management Verification Report | DES73-6982 STMN IOS Workflow Navigation and Scanning Controls Verification Specifications DEX73-6983 STMN IOS Workflow Navigation and Scanning Controls Verification Report | DEX73-6599 STMN IOS Scan Workflow Verification Specification DEX73-6949 STMN IOS Scan Workflow Verification Report | DEX73-6563 STMN IOS Scanner Connection Verification Specification DEX73-6953 STMN IOS Scanner Connection Verification Report | DEX73-6597 STMN IOS Scan Arches Verification Specification DEX73-6955 STMN IOS Scan Arches Verification Report | DES73-7006 STMN IOS Scan Options and Mesh Tools in Scan View Verification Specification DEX73-7007 STMN IOS Scan Options and Mesh Tools in Scan View Verification Report | DES73-7008 STMN IOS Scan bite and align arches Verification Specification DEX73-7009 STMN IOS Scan bite and align arches Verification Report | DEX73-6923 STMN IOS Scan Review Verification Specification DEX73-6956 STMN IOS Scan Review Verification Report | DEX73-6924 STMN IOS Data format and export Verification Specifications DEX73-6957 STMN IOS Data format and export Verification Report | DEX73-6938 STMN IOS DWOS & CaresConnect Integration Verification Specification DEX73-6958 STMN IOS DWOS & CaresConnect Integration Verification Report | DES73-6925 STMN IOS AXS Integration Verification Specifications DEX73-6959 STMN IOS AXS Integration Verification Report | DES73-6926 STMN IOS ClearCorrect Integration Verification Specifications DEX73-6960 STMN IOS ClearCorrect Integration Verification Report | DES73-6927 STMN IOS Technical support and training Verification Specifications DEX73-6965 STMN IOS Technical support and training Verification Report | DES73-6928 STMN IOS Cybersecurity Verification Specifications DEX73-6961 STMN IOS Cybersecurity Verification Report | DES73-6929 STMN IOS Regulatory compliance Verification Specifications DEX73-6962 STMN IOS Regulatory compliance Verification Report | DES73-6890 STMN IOS Localization Verification Specifications DEX73-6963 STMN IOS Localization Verification Report | DES73-6930 STMN IOS Licensing and business intelligence Verification Specifications DEX73-6964 STMN IOS Licensing and business intelligence Verification Report | DEX73-6893 STMN IOS Accuracy test Verification Specification DEX73-6950 STMN IOS Accuracy test Verification Report | DES73-6727 STMN IOS UC_001 Validation Specification DES73-6091 STMN IOS Verification Specification and Report | DES73-6908 STMN IOS UC_002 Tooth-bone restoration Specifications DEX73-6993 STMN IOS UC_002 Tooth-bone restoration Report | DES73-6966 STMN IOS UC_003 Implant Bone restoration Validation Specifications DEX73-6994 STMN IOS UC_003 Implant Bone restoration Validation Report | DES73-6943 STMN IOS UC_004 Patient record management Validation Specification DEX73-6944 STMN IOS UC_004 Patient record management Validation Report | DES73-6909 STMN IOS UC_005 Installation and update Validation Spec DEX73-6967 STMN IOS UC_005 Installation and update Validation Report | DEX73-6945 STMN IOS UC_006 User Management Validation Specification DEX73-6946 STMN IOS UC_006 User Management Validation Report
Use Case | UC_001 | [41 empty] | - | x
| UC_002 | [41 empty] | - |  | x
| UC_003 | [41 empty] | - |  |  | x
| UC_004 | [41 empty] | - |  |  |  | x
| UC_005 | [41 empty] | - |  |  |  |  | x
| UC_006 | [41 empty] | - | [5 empty] | x
Requirements | PR_1.001 | x | [18 empty] | x | [21 empty] | -
| PR_1.002 | x | [18 empty] | x | [21 empty] | - |  |  |  |  | x
| PR_1.003 | x | [18 empty] | x | [21 empty] | - |  |  |  |  | x
| PR_1.004 | x | [18 empty] | x | [21 empty] | -
Requirements | PR_2.001 |  | x | [18 empty] | x | [20 empty] | - |  |  |  |  | x
Requirements | PR_2.002 |  | x | [18 empty] | x | [20 empty] | - |  |  |  |  | x
Requirements | PR_2.003 |  | x | [18 empty] | x | [20 empty] | - |  |  |  |  | x
Requirements | PR_2.004 |  | x | [18 empty] | x | [20 empty] | - |  |  |  |  | x
Requirements | PR_2.005 |  | x | [18 empty] | x | [20 empty] | - |  |  |  |  | x
Requirements | PR_2.006 |  | x | [18 empty] | x | [20 empty] | - |  |  |  |  | x
| PR_2.007 |  | x | [18 empty] | x | [20 empty] | - |  |  |  |  | x
| PR_3.001 |  |  |  | x | [17 empty] | x | [19 empty] | - | [5 empty] | x
| PR_3.002 |  |  |  | x | [17 empty] | x | [19 empty] | - | [5 empty] | x
Requirements | PR_3.003 |  |  |  | x | [17 empty] | x | [19 empty] | - | [5 empty] | x
Requirements | PR_3.004 |  |  |  | x | [5 empty] | x | [11 empty] | x | [7 empty] | x | [11 empty] | - | [5 empty] | x
Requirements | PR_4.001 |  |  |  |  | x | [17 empty] | x | [18 empty] | - |  |  |  | x
Requirements | PR_4.002 |  |  |  |  | x | [17 empty] | x | [18 empty] | - |  |  |  | x
Requirements | PR_5.001 | [5 empty] | x | [17 empty] | x | x | [16 empty] | - |  |  |  | x
Requirements | PR_5.002 | [5 empty] | x | [17 empty] | x | x | [16 empty] | - |  |  |  | x
| PR_5.003 | [5 empty] | x | [17 empty] | x | x | [16 empty] | - | x | x | x
| PR_5.004 | [23 empty] | x | [17 empty] | - |  | x | x
| PR_5.005 | [23 empty] | x | [17 empty] | - | x | x | x
| PR_6.001 | [6 empty] | x | [19 empty] | x | [14 empty] | - | x | x | x
| PR_6.002 | [7 empty] | x | [17 empty] | x | [15 empty] | - | x | x | x
| PR_6.003 | [7 empty] | x | [17 empty] | x | [15 empty] | - | x | x | x
| PR_7.001 | [8 empty] | x | [18 empty] | x | [13 empty] | - |  |  |  |  | x
| PR_7.002 | [8 empty] | x | [18 empty] | x | [13 empty] | -
| PR_8.001 | [10 empty] | x | [17 empty] | x | [12 empty] | - | x | x | x
| PR_8.002 | [11 empty] | x | [18 empty] | x | [10 empty] | - | x | x | x
| PR_8.003 | [41 empty] | -
| PR_8.004 | [9 empty] | x | x | [17 empty] | x | x | [11 empty] | - | x | x | x
| PR_8.005 | [9 empty] | x | x | [17 empty] | x | x | [11 empty] | - | x | x | x
| PR_8.006 | [10 empty] | x | [17 empty] | x | [12 empty] | - | x | x | x
| PR_8.007 | [9 empty] | x | x | [17 empty] | x | x | [11 empty] | - | x | x | x
| PR_8.008 | [9 empty] | x | [19 empty] | x | [11 empty] | - | x | x | x
| PR_8.009 | [9 empty] | x | [19 empty] | x | [11 empty] | - | x | x
| PR_8.010 | [8 empty] | x | [18 empty] | x | [13 empty] | - |  | x
| PR_8.011 | [10 empty] | x | [17 empty] | x | [12 empty] | - | x | x | x
| PR_8.012 | [9 empty] | x | [19 empty] | x | [11 empty] | - | x | x | x
| PR_9.001 | [12 empty] | x | [18 empty] | x | [9 empty] | - | x | x | x
| PR_9.002 | [12 empty] | x | [18 empty] | x | [9 empty] | - |  | x
| PR_9.003 | [12 empty] | x | [18 empty] | x | [9 empty] | - |  |  | x
| PR_9.004 | [12 empty] | x | [18 empty] | x | [9 empty] | - |  | x
| PR_9.005 | [12 empty] | x | [18 empty] | x | [9 empty] | - | x | x | x
| PR_9.006 | [12 empty] | x | [18 empty] | x | [9 empty] | - | x | x | x
| PR_9.007 | [12 empty] | x | [18 empty] | x | [9 empty] | - |  | x
| PR_9.008 | [12 empty] | x | [18 empty] | x | [9 empty] | - | x | x | x
| PR_10.001 | [32 empty] | x | [8 empty] | - | x | x | x
| PR_10.002 | [32 empty] | x | [8 empty] | - | x | x | x
| PR_10.003 | [32 empty] | x | [8 empty] | - | x | x | x
| PR_11.001 | [33 empty] | x | [7 empty] | - | x | x | x
| PR_12.001 | [13 empty] | x | [20 empty] | x | [6 empty] | - |  |  |  | x
| PR_12.002 | [13 empty] | x | [20 empty] | x | [6 empty] | - | x | x | x
| PR_13.001 | [14 empty] | x | [20 empty] | x | [5 empty] | - | x
| PR_13.002 | [14 empty] | x | [20 empty] | x | [5 empty] | - | x
| PR_13.003 | [14 empty] | x | [20 empty] | x | [5 empty] | - | x
| PR_14.001 | [15 empty] | x | [20 empty] | x |  |  |  |  | - |  |  |  |  | x
| PR_14.002 | [15 empty] | x | [20 empty] | x |  |  |  |  | - |  |  |  |  | x
| PR_15.001 | [37 empty] | x |  |  |  | - |  |  |  | x
| PR_15.002 | [37 empty] | x |  |  |  | - |  |  |  | x
| PR_16.001 | [16 empty] | x | [21 empty] | x |  |  | - |  |  |  |  | x
| PR_16.002 | [16 empty] | x | [21 empty] | x |  |  | - |  |  |  |  | x
| PR_16.003 | [16 empty] | x | [21 empty] | x |  |  | -
| PR_17.001 | [17 empty] | x | [21 empty] | x |  | - | [5 empty] | x
| PR_17.002 | [17 empty] | x | [21 empty] | x |  | - | [5 empty] | x
| PR_18.001 | [18 empty] | x | [21 empty] | x | -
| PR_18.002 | [18 empty] | x | [21 empty] | x | -
| PR_18.003 | [13 empty] | x | x |  |  |  | x | [15 empty] | x | x |  |  |  |  | x | -
| PR_18.006 | [18 empty] | x | [21 empty] | x | - |  |  |  |  | x
Safety | 21110 | [42 empty] | x
Safety | 31110 | [42 empty] | x
Safety | 31220 | [42 empty] | x
Safety | 61110 | [42 empty] | x
| 11210 | x | [18 empty] | x
| 11220 |  | x | [18 empty] | x
| 31110 | [16 empty] | x | [21 empty] | x | [6 empty] | x
| 41110 |  |  |  | x | [17 empty] | x | [25 empty] | x
| 41210 | [16 empty] | x | [21 empty] | x | [6 empty] | x
| 41202 | [18 empty] | x | [21 empty] | x | [5 empty] | x
| 51110 |  |  |  | x | [17 empty] | x | [25 empty] | x
| 51102 | [18 empty] | x | [21 empty] | x | [5 empty] | x
| 61110 |  |  |  | x | [17 empty] | x | [25 empty] | x
| 61103 | [18 empty] | x | [21 empty] | x | [5 empty] | x
| 71101 | [8 empty] | x | [18 empty] | x | [18 empty] | x
| 72110 | x | [18 empty] | x
| 72120 | x | [18 empty] | x
| 83101 | [6 empty] | x
| 91210 |  | x | [18 empty] | x
| 101110 | [16 empty] | x | [21 empty] | x | [7 empty] | x
111120
112110
| 122110 |  | x | [18 empty] | x | [25 empty] | x

## 1.0.1
[6 empty] | SDD | [21 empty] | Verification | [24 empty] | Validation
[28 empty] | Verification Spec and Report | [24 empty] | Validation Specification and Report
Requirement / Type | ID | Req Type | Safety | Verification | Validation | DES73-6894 STMN IOS SDD - Main application | DES73-6606 STMN IOS SDD - Installation | DES73-6607 STMN IOS SDD - Update | DES73-6896 STMN IOS SDD - User management and login | DES73-6897 STMN IOS SDD - Patient management | DES73-6985 STMN IOS SDD - Scan data management | DES73-6881 STMN IOS SDD - Scan Workflows | DES73-6973 STMN IOS SDD - Workflow Navigation and Scanning Controls | DES73-6877 STMN IOS SDD - Scanner Connection | DES73-6997 STMN IOS SDD - Scan options and mesh tools in scan view | DES73-6878 STMN IOS SDD - Scan arches | DES73-6984 STMN IOS SDD - Scan bite and align arches | DES73-6895 STMN IOS SDD - Scan Review | DES73-6900 STMN IOS SDD - AXS integration | DES73-6901 STMN IOS SDD - ClearCorrect integration | DES73-6902 STMN IOS SDD - Technical support and training | DES73-6904 STMN IOS SDD - Regulatory compliance | DES73-6882 STMN IOS SDD - Localization | DES73-6905 STMN IOS SDD - Licensing and business intelligence | DES73-7095 STMN IOS SDD - Firmware Upgrade | DES73-6899 STMN IOS SDD - Data format and export | DES73-7100 STMN IOS - SDD Data Backup and Restore | DEX73-6911 STMN IOS Software Main Application Verification Specifications DEX73-6951 STMN IOS Software Main Application Verification Report | DEX73-6891 STMN IOS Installation & Update Verification Specifications DEX73-6952 STMN IOS Installation & Update Verirfication Report | DES73-6912 STMN IOS Software User management and login Verification Specifications DEX73-6971 STMN IOS Software User management and login Verification Report | DES73-6917 STMN IOS Patient Management Verification Specification DEX73-6972 STMN IOS Patient Management Verification Report | DES73-6947 STMN IOS Case management Verification Specifications DEX73-6948 STMN IOS Case management Verification Report | DES73-7004 STMN IOS Scan data management Verification Specification DEX73-7005 STMN IOS Scan data management Verification Report | DES73-6982 STMN IOS Workflow Navigation and Scanning Controls Verification Specifications DEX73-6983 STMN IOS Workflow Navigation and Scanning Controls Verification Report | DEX73-6599 STMN IOS Scan Workflow Verification Specification DEX73-6949 STMN IOS Scan Workflow Verification Report | DEX73-6563 STMN IOS Scanner Connection Verification Specification DEX73-6953 STMN IOS Scanner Connection Verification Report | DEX73-6597 STMN IOS Scan Arches Verification Specification DEX73-6955 STMN IOS Scan Arches Verification Report | DES73-7006 STMN IOS Scan Options and Mesh Tools in Scan View Verification Specification DEX73-7007 STMN IOS Scan Options and Mesh Tools in Scan View Verification Report | DES73-7008 STMN IOS Scan bite and align arches Verification Specification DEX73-7009 STMN IOS Scan bite and align arches Verification Report | DEX73-6923 STMN IOS Scan Review Verification Specification DEX73-6956 STMN IOS Scan Review Verification Report | DEX73-6924 STMN IOS Data format and export Verification Specifications DEX73-6957 STMN IOS Data format and export Verification Report | DEX73-6938 STMN IOS DWOS & CaresConnect Integration Verification Specification DEX73-6958 STMN IOS DWOS & CaresConnect Integration Verification Report | DES73-6925 STMN IOS AXS Integration Verification Specifications DEX73-6959 STMN IOS AXS Integration Verification Report | DES73-6926 STMN IOS ClearCorrect Integration Verification Specifications DEX73-6960 STMN IOS ClearCorrect Integration Verification Report | DES73-6927 STMN IOS Technical support and training Verification Specifications DEX73-6965 STMN IOS Technical support and training Verification Report | DES73-6928 STMN IOS Cybersecurity Verification Specifications DEX73-6961 STMN IOS Cybersecurity Verification Report | DES73-6929 STMN IOS Regulatory compliance Verification Specifications DEX73-6962 STMN IOS Regulatory compliance Verification Report | DES73-6890 STMN IOS Localization Verification Specifications DEX73-6963 STMN IOS Localization Verification Report | DES73-6930 STMN IOS Licensing and business intelligence Verification Specifications DEX73-6964 STMN IOS Licensing and business intelligence Verification Report | DEX73-6893 STMN IOS Accuracy test Verification Specification DEX73-6950 STMN IOS Accuracy test Verification Report | DES73-7107 Data Backup and Restore Verification Specifications DEX73-7108 Data Backup and Restore Verification Report | DES73-7099 STMN IOS Firmware Upgrade Verification Specification DEX73-7101 STMN IOS Firmware Upgrade Verification Report | DES73-6727 STMN IOS UC_001 Validation Specification DES73-6091 STMN IOS Verification Specification and Report | DES73-6908 STMN IOS UC_002 Tooth-bone restoration Specifications DEX73-6993 STMN IOS UC_002 Tooth-bone restoration Report | DES73-6966 STMN IOS UC_003 Implant Bone restoration Validation Specifications DEX73-6994 STMN IOS UC_003 Implant Bone restoration Validation Report | DES73-6943 STMN IOS UC_004 Patient record management Validation Specification DEX73-6944 STMN IOS UC_004 Patient record management Validation Report | DES73-6909 STMN IOS UC_005 Installation and update Validation Spec DEX73-6967 STMN IOS UC_005 Installation and update Validation Report | DEX73-6945 STMN IOS UC_006 User Management Validation Specification DEX73-6946 STMN IOS UC_006 User Management Validation Report
Use Case | UC_001 | [48 empty] | - |  |  | x
| UC_002 | [48 empty] | - |  |  |  | x
| UC_003 | [48 empty] | - |  |  |  |  | x
| UC_004 | [48 empty] | - | [5 empty] | x
| UC_005 | [48 empty] | - | [6 empty] | x
| UC_006 | [48 empty] | - | [7 empty] | x
Requirements | PR_1.001 | Non-Functional | No |  |  | x | [21 empty] | x | [21 empty] | -
| PR_1.002 | Design constraint | Yes |  |  | x | [21 empty] | x | [21 empty] | - | [6 empty] | x
| PR_1.003 | Design constraint | Yes |  |  | x | [21 empty] | x | [21 empty] | - | [6 empty] | x
| PR_1.004 | Design constraint | No |  |  | x | [21 empty] | x | [21 empty] | -
Requirements | PR_2.001 | Functional | No |  |  |  | x | [21 empty] | x | [20 empty] | - | [6 empty] | x
Requirements | PR_2.002 | Functional | Yes |  |  |  | x | [21 empty] | x | [20 empty] | - | [6 empty] | x
Requirements | PR_2.003 | Functional | Yes |  |  |  | x | [21 empty] | x | [20 empty] | - | [6 empty] | x
Requirements | PR_2.004 | Functional | Yes |  |  |  | x | [21 empty] | x | [20 empty] | - | [6 empty] | x
Requirements | PR_2.005 | Functional | No |  |  |  | x | [21 empty] | x | [20 empty] | - | [6 empty] | x
Requirements | PR_2.006 | Non-Functional | No |  |  |  | x | [21 empty] | x | [20 empty] | - | [6 empty] | x
| PR_2.007 | Functional | No |  |  |  | x | [21 empty] | x | [20 empty] | - | [6 empty] | x
| PR_2.008 | Non-Functional | Yes | [21 empty] | x | [24 empty] | - |  | x |  |  |  |  | x
| PR_3.001 | Functional | Yes | [5 empty] | x | [20 empty] | x | [19 empty] | - | [7 empty] | x
| PR_3.002 | Functional | No | [5 empty] | x | [20 empty] | x | [19 empty] | - | [7 empty] | x
Requirements | PR_3.003 | Functional | No | [5 empty] | x | [20 empty] | x | [19 empty] | - | [7 empty] | x
Requirements | PR_3.004 | Functional | No | [5 empty] | x | [5 empty] | x | [14 empty] | x | [7 empty] | x | [11 empty] | - | [7 empty] | x
Requirements | PR_4.001 | Functional | No | [6 empty] | x | [20 empty] | x | [18 empty] | - | [5 empty] | x
Requirements | PR_4.002 | Functional | No | [6 empty] | x | [20 empty] | x | [18 empty] | - | [5 empty] | x
Requirements | PR_5.001 | Functional | No | [7 empty] | x | [20 empty] | x | x | [16 empty] | - | [5 empty] | x
Requirements | PR_5.002 | Functional | No | [7 empty] | x | [20 empty] | x | x | [16 empty] | - | [5 empty] | x
| PR_5.003 | Functional | No | [7 empty] | x | [20 empty] | x | x | [16 empty] | - |  |  | x | x | x
| PR_5.004 | Functional | No | [28 empty] | x | [17 empty] | - |  |  |  | x | x
| PR_5.005 | Functional | No | [28 empty] | x | [17 empty] | - |  |  | x | x | x
| PR_6.001 | Functional | Yes | [8 empty] | x | [22 empty] | x | [14 empty] | - |  |  | x | x | x
| PR_6.002 | Functional | No | [9 empty] | x | [20 empty] | x | [15 empty] | - |  |  | x | x | x
| PR_6.003 | Functional | No | [9 empty] | x | [20 empty] | x | [15 empty] | - |  |  | x | x | x
| PR_7.001 | Non-Functional | Yes | [10 empty] | x | [21 empty] | x | [13 empty] | - | [6 empty] | x
| PR_7.002 | Non-Functional | Yes | [10 empty] | x | [21 empty] | x | [13 empty] | - | [6 empty] | x
| PR_8.001 | Functional | No | [12 empty] | x | [20 empty] | x | [12 empty] | - |  |  | x | x | x
| PR_8.002 | Functional | No | [13 empty] | x | [21 empty] | x | [10 empty] | - |  |  | x | x | x
| PR_8.003 | Non-Functional | No | [46 empty] | x
| PR_8.004 | Functional | Yes | [11 empty] | x | x | [20 empty] | x | x | [11 empty] | - |  |  | x | x | x
| PR_8.005 | Functional | No | [11 empty] | x | x | [20 empty] | x | x | [11 empty] | - |  |  | x | x | x
| PR_8.006 | Functional | No | [12 empty] | x | [20 empty] | x | [12 empty] | - |  |  | x | x | x
| PR_8.007 | Functional | No | [11 empty] | x | x | [20 empty] | x | x | [11 empty] | - |  |  | x | x | x
| PR_8.008 | Functional | No | [11 empty] | x | [22 empty] | x | [11 empty] | - |  |  | x | x | x
| PR_8.009 | Functional | No | [11 empty] | x | [22 empty] | x | [11 empty] | - |  |  | x | x
| PR_8.010 | Functional | Yes | [10 empty] | x | [21 empty] | x | [13 empty] | - |  |  |  | x
| PR_8.011 | Design constraint | Yes | [12 empty] | x | [20 empty] | x | [12 empty] | - |  |  | x | x | x
| PR_8.012 | Functional | No | [11 empty] | x | [22 empty] | x | [11 empty] | - |  |  | x | x | x
| PR_9.001 | Functional | No | [14 empty] | x | [21 empty] | x | [9 empty] | - |  |  | x | x | x
| PR_9.002 | Functional | No | [14 empty] | x | [21 empty] | x | [9 empty] | - |  |  |  | x
| PR_9.003 | Functional | No | [14 empty] | x | [21 empty] | x | [9 empty] | - |  |  |  |  | x
| PR_9.004 | Functional | No | [14 empty] | x | [21 empty] | x | [9 empty] | - |  |  |  | x
| PR_9.005 | Functional | No | [14 empty] | x | [21 empty] | x | [9 empty] | - |  |  | x | x | x
| PR_9.006 | Functional | No | [14 empty] | x | [21 empty] | x | [9 empty] | - |  |  | x | x | x
| PR_9.007 | Functional | No | [14 empty] | x | [21 empty] | x | [9 empty] | - |  |  |  | x
| PR_9.008 | Functional | No | [14 empty] | x | [21 empty] | x | [9 empty] | - |  |  | x | x | x
| PR_10.001 | Functional | No | [22 empty] | x | [14 empty] | x | [8 empty] | - |  |  | x | x | x
| PR_10.002 | Functional | No | [22 empty] | x | [14 empty] | x | [8 empty] | - |  |  | x | x | x
| PR_10.003 | Functional | No | [22 empty] | x | [14 empty] | x | [8 empty] | - |  |  | x | x | x
| PR_11.001 | Functional | No | [38 empty] | x | [7 empty] | - |  |  | x | x | x
| PR_12.001 | Functional | No | [15 empty] | x | [23 empty] | x | [6 empty] | - | [5 empty] | x
| PR_12.002 | Functional | No | [15 empty] | x | [23 empty] | x | [6 empty] | - |  |  | x | x | x
| PR_13.001 | Functional | No | [16 empty] | x | [23 empty] | x | [5 empty] | - |  |  | x
| PR_13.002 | Functional | No | [16 empty] | x | [23 empty] | x | [5 empty] | - |  |  | x
| PR_13.003 | Functional | No | [16 empty] | x | [23 empty] | x | [5 empty] | - |  |  | x
| PR_14.001 | Non-Functional | No | [17 empty] | x | [23 empty] | x |  |  |  |  | - | [6 empty] | x
| PR_14.002 | Functional | No | [17 empty] | x | [23 empty] | x |  |  |  |  | - | [6 empty] | x
| PR_15.001 | Safety | Yes | [6 empty] | x | [20 empty] | x | [14 empty] | x |  |  |  | - | [5 empty] | x
| PR_15.002 | Safety | Yes | [23 empty] | x | [18 empty] | x |  |  |  | - | x |  |  |  |  | x
| PR_15.003 | Non-Functional | Yes | [23 empty] | x | [22 empty] | - | x |  |  |  |  | x
| PR_16.001 | Functional | No | [18 empty] | x | [24 empty] | x |  |  | - | [6 empty] | x
| PR_16.002 | Non-Functional | Yes | [18 empty] | x | [24 empty] | x |  |  | - | [6 empty] | x
| PR_16.003 | Non-Functional | No | [18 empty] | x | [24 empty] | x |  |  | -
| PR_17.001 | Functional | No | [19 empty] | x | [24 empty] | x |  | - | [7 empty] | x
| PR_17.002 | Functional | No | [19 empty] | x | [24 empty] | x |  | - | [7 empty] | x
| PR_18.001 | Non-Functional | No | [20 empty] | x | [24 empty] | x | -
| PR_18.002 | Non-Functional | No | [20 empty] | x | [24 empty] | x | -
| PR_18.003 | Non-Functional | No | [15 empty] | x | x |  |  |  | x | [18 empty] | x | x |  |  |  |  | x | -
| PR_18.006 | Non-Functional | Yes | [20 empty] | x | [24 empty] | x | - | [6 empty] | x
| 11110 | Safety | Yes
| 11210 | Safety | Yes |  |  | x | [21 empty] | x | [28 empty] | x
| 11220 | Safety | Yes |  |  |  | x | [21 empty] | x | [27 empty] | x
Safety | 31110 | Safety | Yes | [6 empty] | x | [20 empty] | x | [21 empty] | x
| 41110 | Safety | Yes | [5 empty] | x | [20 empty] | x | [27 empty] | x
| 41120 | Safety | Yes | [23 empty] | x | [23 empty] | x |  |  |  |  | x
| 41202 | Safety | Yes | [20 empty] | x | [24 empty] | x | [7 empty] | x
| 41210 | Safety | Yes | [18 empty] | x | [24 empty] | x | [8 empty] | x
| 41310 | Safety | Yes | [23 empty] | x | [23 empty] | x |  |  |  |  | x
| 41301 | Safety | Yes | [23 empty] | x | [23 empty] | x |  |  |  |  | x
| 51102 | Safety | Yes | [20 empty] | x | [24 empty] | x | [7 empty] | x
| 51110 | Safety | Yes | [5 empty] | x | [20 empty] | x | [27 empty] | x
| 61103 | Safety | Yes | [20 empty] | x | [24 empty] | x | [7 empty] | x
| 61110 | Safety | Yes | [5 empty] | x | [20 empty] | x | [27 empty] | x
| 71101 | Safety | Yes | [10 empty] | x | [21 empty] | x | [20 empty] | x
| 72110 | Safety | Yes |  |  | x | [21 empty] | x | [28 empty] | x
| 72120 | Safety | Yes |  |  | x | [21 empty] | x | [28 empty] | x
| 73110 | Safety | Yes | [32 empty] | x | [20 empty] | x
| 73101 | Safety | Yes
| 81101 | Safety | Yes | [32 empty] | x | [17 empty] | x
| 83101 | Safety | Yes | [8 empty] | x | [22 empty] | x | [17 empty] | x | x | x
| 91210 | Safety | Yes |  |  |  | x | [21 empty] | x | [27 empty] | x
| 101110 | Safety | Yes | [18 empty] | x | [24 empty] | x | [9 empty] | x
| 111110 | Safety | Yes | [21 empty] | x | [26 empty] | x |  |  |  |  | x
| 111120 | Safety | Yes | [21 empty] | x | [26 empty] | x |  |  |  |  | x
| 112110 | Safety | Yes | [21 empty] | x | [26 empty] | x |  |  |  |  | x
| 122110 | Safety | Yes |  |  |  | x | [21 empty] | x | [27 empty] | x
Note on AU3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: This test spec is obsolete now Reply: We just did not execute the test this time as there was no changes but we have to keep it as it covers 15.001 and 15.002 in it

## 1.0.2
[6 empty] | SDD | [21 empty] | Verification | [24 empty] | Validation
[28 empty] | Verification Spec and Report | [24 empty] | Validation Specification and Report
Requirement / Type | ID | Req Type | Safety | Verification | Validation | DES73-6894 STMN IOS SDD - Main application | DES73-6606 STMN IOS SDD - Installation | DES73-6607 STMN IOS SDD - Update | DES73-6896 STMN IOS SDD - User management and login | DES73-6897 STMN IOS SDD - Patient management | DES73-6985 STMN IOS SDD - Scan data management | DES73-6881 STMN IOS SDD - Scan Workflows | DES73-6973 STMN IOS SDD - Workflow Navigation and Scanning Controls | DES73-6877 STMN IOS SDD - Scanner Connection | DES73-6997 STMN IOS SDD - Scan options and mesh tools in scan view | DES73-6878 STMN IOS SDD - Scan arches | DES73-6984 STMN IOS SDD - Scan bite and align arches | DES73-6895 STMN IOS SDD - Scan Review | DES73-6900 STMN IOS SDD - AXS integration | DES73-6901 STMN IOS SDD - ClearCorrect integration | DES73-6902 STMN IOS SDD - Technical support and training | DES73-6904 STMN IOS SDD - Regulatory compliance | DES73-6882 STMN IOS SDD - Localization | DES73-6905 STMN IOS SDD - Licensing and business intelligence | DES73-7095 STMN IOS SDD - Firmware Upgrade | DES73-6899 STMN IOS SDD - Data format and export | DES73-7100 STMN IOS - SDD Data Backup and Restore | DEX73-6911 STMN IOS Software Main Application Verification Specifications DEX73-6951 STMN IOS Software Main Application Verification Report | DEX73-6891 STMN IOS Installation & Update Verification Specifications DEX73-6952 STMN IOS Installation & Update Verirfication Report | DES73-6912 STMN IOS Software User management and login Verification Specifications DEX73-6971 STMN IOS Software User management and login Verification Report | DES73-6917 STMN IOS Patient Management Verification Specification DEX73-6972 STMN IOS Patient Management Verification Report | DES73-6947 STMN IOS Case management Verification Specifications DEX73-6948 STMN IOS Case management Verification Report | DES73-7004 STMN IOS Scan data management Verification Specification DEX73-7005 STMN IOS Scan data management Verification Report | DES73-6982 STMN IOS Workflow Navigation and Scanning Controls Verification Specifications DEX73-6983 STMN IOS Workflow Navigation and Scanning Controls Verification Report | DEX73-6599 STMN IOS Scan Workflow Verification Specification DEX73-6949 STMN IOS Scan Workflow Verification Report | DEX73-6563 STMN IOS Scanner Connection Verification Specification DEX73-6953 STMN IOS Scanner Connection Verification Report | DEX73-6597 STMN IOS Scan Arches Verification Specification DEX73-6955 STMN IOS Scan Arches Verification Report | DES73-7006 STMN IOS Scan Options and Mesh Tools in Scan View Verification Specification DEX73-7007 STMN IOS Scan Options and Mesh Tools in Scan View Verification Report | DES73-7008 STMN IOS Scan bite and align arches Verification Specification DEX73-7009 STMN IOS Scan bite and align arches Verification Report | DEX73-6923 STMN IOS Scan Review Verification Specification DEX73-6956 STMN IOS Scan Review Verification Report | DEX73-6924 STMN IOS Data format and export Verification Specifications DEX73-6957 STMN IOS Data format and export Verification Report | DEX73-6938 STMN IOS DWOS & CaresConnect Integration Verification Specification DEX73-6958 STMN IOS DWOS & CaresConnect Integration Verification Report | DES73-6925 STMN IOS AXS Integration Verification Specifications DEX73-6959 STMN IOS AXS Integration Verification Report | DES73-6926 STMN IOS ClearCorrect Integration Verification Specifications DEX73-6960 STMN IOS ClearCorrect Integration Verification Report | DES73-6927 STMN IOS Technical support and training Verification Specifications DEX73-6965 STMN IOS Technical support and training Verification Report | DES73-6928 STMN IOS Cybersecurity Verification Specifications DEX73-6961 STMN IOS Cybersecurity Verification Report | DES73-6929 STMN IOS Regulatory compliance Verification Specifications DEX73-6962 STMN IOS Regulatory compliance Verification Report | DES73-6890 STMN IOS Localization Verification Specifications DEX73-6963 STMN IOS Localization Verification Report | DES73-6930 STMN IOS Licensing and business intelligence Verification Specifications DEX73-6964 STMN IOS Licensing and business intelligence Verification Report | DEX73-6893 STMN IOS Accuracy test Verification Specification DEX73-6950 STMN IOS Accuracy test Verification Report | DES73-7107 Data Backup and Restore Verification Specifications DEX73-7108 Data Backup and Restore Verification Report | DES73-7099 STMN IOS Firmware Upgrade Verification Specification DEX73-7101 STMN IOS Firmware Upgrade Verification Report | DES73-7087 STMN IOS UC_001 Non-restorative and orthodontic appliances Validation Specification DES73-6091 STMN IOS Verification Specification and Report | DES73-6908 STMN IOS UC_002 Tooth-bone restoration Specifications DEX73-6993 STMN IOS UC_002 Tooth-bone restoration Report | DES73-6966 STMN IOS UC_003 Implant Bone restoration Validation Specifications DEX73-6994 STMN IOS UC_003 Implant Bone restoration Validation Report | DES73-6943 STMN IOS UC_004 Patient record management Validation Specification DEX73-6944 STMN IOS UC_004 Patient record management Validation Report | DES73-6909 STMN IOS UC_005 Installation and update Validation Spec DEX73-6967 STMN IOS UC_005 Installation and update Validation Report | DEX73-6945 STMN IOS UC_006 User Management Validation Specification DEX73-6946 STMN IOS UC_006 User Management Validation Report
Use Case | UC_001 | [48 empty] | - |  |  | x
| UC_002 | [48 empty] | - |  |  |  | x
| UC_003 | [48 empty] | - |  |  |  |  | x
| UC_004 | [48 empty] | - | [5 empty] | x
| UC_005 | [48 empty] | - | [6 empty] | x
| UC_006 | [48 empty] | - | [7 empty] | x
Requirements | PR_1.001 | Non-Functional | No |  |  | x | [21 empty] | x
| PR_1.002 | Design constraint | Yes |  |  | x | [7 empty] | x | [13 empty] | x | [28 empty] | x
| PR_1.003 | Design constraint | Yes |  |  | x | [21 empty] | x | [28 empty] | x
| PR_1.004 | Design constraint | No |  |  | x | [21 empty] | x
Requirements | PR_2.001 | Functional | No |  |  |  | x | [21 empty] | x | [27 empty] | x
Requirements | PR_2.002 | Functional | Yes |  |  |  | x | [21 empty] | x | [27 empty] | x
Requirements | PR_2.003 | Functional | Yes |  |  |  | x | [21 empty] | x | [27 empty] | x
Requirements | PR_2.004 | Functional | Yes |  |  |  | x | [21 empty] | x | [27 empty] | x
Requirements | PR_2.005 | Functional | No |  |  |  | x | [21 empty] | x | [27 empty] | x
Requirements | PR_2.006 | Non-Functional | No |  |  |  | x | [21 empty] | x | [27 empty] | x
| PR_2.007 | Functional | No |  |  |  | x | [21 empty] | x | [27 empty] | x
| PR_2.008 | Non-Functional | Yes | [21 empty] | x | [26 empty] | x |  |  |  |  | x
| PR_3.001 | Functional | Yes | [5 empty] | x | [20 empty] | x | [27 empty] | x
| PR_3.002 | Functional | No | [5 empty] | x | [20 empty] | x | [27 empty] | x
Requirements | PR_3.003 | Functional | No | [5 empty] | x | [20 empty] | x | [27 empty] | x
Requirements | PR_3.004 | Functional | No | [5 empty] | x | [5 empty] | x | [14 empty] | x | [7 empty] | x | [19 empty] | x
Requirements | PR_4.001 | Functional | No | [6 empty] | x | [20 empty] | x | [24 empty] | x
Requirements | PR_4.002 | Functional | No | [6 empty] | x | [20 empty] | x | [24 empty] | x
Requirements | PR_5.001 | Functional | No | [7 empty] | x | [20 empty] | x | x | [22 empty] | x
Requirements | PR_5.002 | Functional | No | [7 empty] | x | [20 empty] | x | x | [22 empty] | x
| PR_5.003 | Functional | No | [7 empty] | x | [20 empty] | x | x | [19 empty] | x | x | x
| PR_5.004 | Functional | No | [28 empty] | x | [21 empty] | x | x
| PR_5.005 | Functional | No | [28 empty] | x | [20 empty] | x | x | x
| PR_6.001 | Functional | Yes | [8 empty] | x | [22 empty] | x | [17 empty] | x | x | x
| PR_6.002 | Functional | No | [9 empty] | x | [20 empty] | x | [18 empty] | x | x | x
| PR_6.003 | Functional | No | [9 empty] | x | [20 empty] | x | [18 empty] | x | x | x
| PR_7.001 | Non-Functional | Yes | [10 empty] | x | x | [20 empty] | x | [20 empty] | x
| PR_7.002 | Non-Functional | Yes | [10 empty] | x | [21 empty] | x
| PR_8.001 | Functional | No | [12 empty] | x | [20 empty] | x | [15 empty] | x | x | x
| PR_8.002 | Functional | No | [11 empty] | x |  | x | [21 empty] | x | [13 empty] | x | x | x
| PR_8.003 | Non-Functional | No | [46 empty] | x
| PR_8.004 | Functional | Yes | [11 empty] | x | x | [20 empty] | x | x | [14 empty] | x | x | x
| PR_8.005 | Functional | No | [11 empty] | x | x | [20 empty] | x | x | [14 empty] | x | x | x
| PR_8.006 | Functional | No | [12 empty] | x | [20 empty] | x | [15 empty] | x | x | x
| PR_8.007 | Functional | No | [11 empty] | x | x | [20 empty] | x | x | [14 empty] | x | x | x
| PR_8.008 | Functional | No | [11 empty] | x | x | [20 empty] | x | [15 empty] | x | x | x
| PR_8.009 | Functional | No | [11 empty] | x | [22 empty] | x | [14 empty] | x | x
| PR_8.010 | Functional | Yes | [10 empty] | x |  | x | [19 empty] | x | x | [16 empty] | x
| PR_8.011 | Design constraint | Yes | [12 empty] | x | [20 empty] | x | [15 empty] | x | x | x
| PR_8.012 | Functional | No | [11 empty] | x | [22 empty] | x | [14 empty] | x | x | x
| PR_9.001 | Functional | No | [14 empty] | x | [21 empty] | x | [12 empty] | x | x | x
| PR_9.002 | Functional | No | [14 empty] | x | [21 empty] | x | [13 empty] | x
| PR_9.003 | Functional | No | [14 empty] | x | [21 empty] | x | [14 empty] | x
| PR_9.004 | Functional | No | [14 empty] | x | [21 empty] | x | [13 empty] | x
| PR_9.005 | Functional | No | [14 empty] | x | [21 empty] | x | [12 empty] | x | x | x
| PR_9.006 | Functional | No | [14 empty] | x | [21 empty] | x | [12 empty] | x | x | x
| PR_9.007 | Functional | No | [14 empty] | x | [21 empty] | x | [13 empty] | x
| PR_9.008 | Functional | No | [14 empty] | x | [21 empty] | x | [12 empty] | x | x | x
| PR_10.001 | Functional | No | [22 empty] | x | [14 empty] | x | [11 empty] | x | x | x
| PR_10.002 | Functional | No | [22 empty] | x | [14 empty] | x | [11 empty] | x | x | x
| PR_10.003 | Functional | No | [22 empty] | x | [14 empty] | x | [11 empty] | x | x | x
| PR_11.001 | Functional | No | [38 empty] | x | [10 empty] | x | x | x
| PR_12.001 | Functional | No | [15 empty] | x | [23 empty] | x | [12 empty] | x
| PR_12.002 | Functional | No | [15 empty] | x | [23 empty] | x | [9 empty] | x | x | x
| PR_13.001 | Functional | No | [16 empty] | x | [23 empty] | x | [8 empty] | x
| PR_13.002 | Functional | No | [16 empty] | x | [23 empty] | x | [8 empty] | x
| PR_13.003 | Functional | No | [16 empty] | x | [23 empty] | x | [8 empty] | x
| PR_14.001 | Non-Functional | No | [17 empty] | x | [23 empty] | x | [11 empty] | x
| PR_14.002 | Functional | No | [17 empty] | x | [23 empty] | x | [11 empty] | x
| PR_15.001 | Safety | Yes | [6 empty] | x | [20 empty] | x | [14 empty] | x | [9 empty] | x
| PR_15.002 | Safety | Yes | [23 empty] | x | [18 empty] | x |  |  |  |  | x |  |  |  |  | x
| PR_15.003 | Non-Functional | Yes | [20 empty] | x |  |  | x | [21 empty] | x |  | x |  |  |  |  | x
| PR_16.001 | Functional | No | [18 empty] | x | [24 empty] | x | [9 empty] | x
| PR_16.002 | Non-Functional | Yes | [18 empty] | x | [24 empty] | x | [9 empty] | x
| PR_16.003 | Non-Functional | No | [18 empty] | x | [24 empty] | x
| PR_17.001 | Functional | No | [19 empty] | x | [24 empty] | x | [9 empty] | x
| PR_17.002 | Functional | No | [19 empty] | x | [24 empty] | x | [9 empty] | x
| PR_18.001 | Non-Functional | No | [20 empty] | x | [24 empty] | x
| PR_18.002 | Non-Functional | No | [20 empty] | x | [24 empty] | x
| PR_18.003 | Non-Functional | No | [15 empty] | x | x |  |  |  | x | [18 empty] | x | x |  |  |  |  | x
| PR_18.006 | Non-Functional | Yes | [20 empty] | x | [24 empty] | x | [7 empty] | x
| 11110 | Safety | Yes
| 11210 | Safety | Yes |  |  | x | [21 empty] | x | [28 empty] | x
| 11220 | Safety | Yes |  |  |  | x | [21 empty] | x | [27 empty] | x
Safety | 31110 | Safety | Yes | [6 empty] | x | [20 empty] | x | [21 empty] | x
| 41110 | Safety | Yes | [5 empty] | x | [20 empty] | x | [27 empty] | x
| 41120 | Safety | Yes | [23 empty] | x | [23 empty] | x |  |  |  |  | x
| 41202 | Safety | Yes | [20 empty] | x | [24 empty] | x | [7 empty] | x
| 41210 | Safety | Yes | [18 empty] | x | [24 empty] | x | [8 empty] | x
| 41310 | Safety | Yes | [23 empty] | x | [23 empty] | x |  |  |  |  | x
| 41301 | Safety | Yes | [23 empty] | x | [23 empty] | x |  |  |  |  | x
| 51102 | Safety | Yes | [20 empty] | x | [24 empty] | x | [7 empty] | x
| 51110 | Safety | Yes | [5 empty] | x | [20 empty] | x | [27 empty] | x
| 61103 | Safety | Yes | [20 empty] | x | [24 empty] | x | [7 empty] | x
| 61110 | Safety | Yes | [5 empty] | x | [20 empty] | x | [27 empty] | x
| 71101 | Safety | Yes | [10 empty] | x | [21 empty] | x | [20 empty] | x
| 72110 | Safety | Yes |  |  | x | [21 empty] | x | [28 empty] | x
| 72120 | Safety | Yes |  |  | x | [21 empty] | x | [28 empty] | x
| 73110 | Safety | Yes | [32 empty] | x | [20 empty] | x
| 73101 | Safety | Yes
| 81101 | Safety | Yes | [32 empty] | x | [17 empty] | x
| 83101 | Safety | Yes | [8 empty] | x | [22 empty] | x | [17 empty] | x | x | x
| 91210 | Safety | Yes |  |  |  | x | [21 empty] | x | [27 empty] | x
| 101110 | Safety | Yes | [18 empty] | x | [24 empty] | x | [9 empty] | x
| 111110 | Safety | Yes | [21 empty] | x | [26 empty] | x |  |  |  |  | x
| 111120 | Safety | Yes | [21 empty] | x | [26 empty] | x |  |  |  |  | x
| 112110 | Safety | Yes | [21 empty] | x | [26 empty] | x |  |  |  |  | x
| 122110 | Safety | Yes |  |  |  | x | [21 empty] | x | [27 empty] | x
Note on AU3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: This test spec is obsolete now Reply: We just did not execute the test this time as there was no changes but we have to keep it as it covers 15.001 and 15.002 in it

## Info
Non-functional | verified or validated
Functional | verified and validated or in two different ways verified or validated
design constraints | verified or validated
safety | verified and validated or in two different ways verified or validated
In ID col
A SDD exit related to this req
No SDD exit related to this req
In Req Type col
The requirement have the minimum test spec link
A validation or verification link is missing. If 2 verification used instead of V&V, you should confirm that the 2 verification method are appropriate

## Val list
Req type | Y/N
Functional | Yes
Non-Functional | No
Design constraint
Safety